Leamington Mennonite Home

Long Term Care & Retirement Residence

POLICY AND PROCEDURE

CATEGORY:	SUBJECT:	SECTION:

Resident Care	Emergency Procedure – Loss of Heat	E

POLICY:

2

DATE:	Administrator’s Signature: _______________________

September 2004

REVISED DATE:

January 2006, September 2017, July 2020

EMERGENCY PROCEDURE – LOSS OF HEAT

Total heating system failure is not possible at the Leamington Mennonite Home. The twin boiler system provides backup heat in the event of failure of one unit. The temperature can be maintained for 48 hours on single boiler system. The Home’s generator will continue to supply power to the heating systems’ circulating pumps at all times.

In the case of partial heat loss:

Call:

Administrator 	Cell: 519-890-9434

Maintenance 	Cell: 519-324-1629

See Maintenance Emergency Information Sheet Located at:

Each Nurses Station

General/Front Office Reception